# (INTERNAL USE ONLY)

# AudBase 3.0 Upgrade Checklist

## PLANNING

- Verify with IT that Ports 19812, 19813, and 19814 are opened

- Confirm active VPN access to the server(s)

- Determine how we will access the workstations

- Inventory workstations that need to be upgraded

- Verify working Service Account and Password

- Confirm that there is a Test Environment

- Verify there is enough space on the servers for conversion of existing database

## Server TESTING/IMPLEMETATION

- Document:

  - Audios, subjects, tymps, datafile size

  - interface IP address/port, presence of signatures

  - Export for upgrade

- Stop AudBase Service

- Backup AudBase Folder

- Update to latest 2.3.978

- Data Conversion Step 1 (standalone zip)

- Dara Conversion Step 2 (standalone zip)

- Uninstall existing version of AudBase - Client and server

- Delete or archive old licenses. & Load new 3.0 licenses to C:\ProgramData\OTBEC\Licenses

- Install AudBase 3.0 – Client and Server

  - 3.0.31k1 (structure 2.0.5?)

  - 3.0.33z –any flavor (structure 2.1.0/multi outbounds)

  - 3.0.18.36m (32bit) (structure 2.1.4) will drop lists.

  - 3.0.18.37o1 (64 bit) (structure 2.1.5) (if you skip 2.1.4, you must run this server app twice)

  - Run “After 37o1 CleanUp…” Standalone (zip)

  - Final 64-bit version

- Run final version of AudBase 3.0 Server pointing to newly converted data file

- Import for upgrade*

- Set outbound interface Message Spec.

- Set Admin only Print Signature options. Log out and back in to check this sticks (issue in 64 bit)

- Data validation: Entry Lists, Accounts, Signatures, Interface settings, document type, custom report, custom features/mapping

- Verify XPS printer is enabled on server

## Client TESTING/IMPLEMETATION

- Identify manual or package push

- If package, ensure: uninstall, reinstall, place EnginedServer.4DLink

- If manual, uninstall, reinstall, point to server

- Log into client workstation.