
Minimum Configuration for AudBase 2.3.6 Server/Workstation
AudBase applications require the following configurations:

	
	Client
	Server

	Processor
	PC Compatible with Pentium D or greater processor
	PC Compatible with Pentium D or greater processor

	Operating system
	Windows 2000, Windows XP, Windows 7
	Windows 2000, Windows XP, Server 2003, Server 2008

	Recommended System Memory
	1024 MB 

(3GB Win 7)
	1024 MB
    (4GB Win 2k8)

	Hard Disk dedicated space
	128mb
	100 MB initial, estimated 128mb/yr growth

	Screen resolution
	1024*768 pixels

	Com Ports

Data Backup
	Two (2) USB and/or Serial Ports
Flat File backup of installation directory/files, or system can utilize internal backup system to remote drive/media


[image: image1.jpg]



In a Networked Environment (WAN/LAN):

· All workstations must have TCP/IP communication with server (AudBase uses port 19813 default, can be changed)
· Reasonable bandwidth is required to the server
· Each audiometric record is approximately 2KB; Average net transaction <1kb
· A “Client” will be installed on each workstation accessing the database

· AudBase/4D server module will run as a Windows Service on the Server under the LSA
· Server must have static IP address

· Minimum of two (2) available USB or Serial Ports for workstations to attach to audiometric equipment sending serial test data (no personal ID info from device, only results)
· Attaches to ALHTA via print to doc button that will automatically generate/name with user definable parameters/place a requested file type in a folder. (DoD = Tif)

· Nightly backup recommended for optimum data redundancy. The application itself has a backup subsystem, or an external means can be utilized. (Flat file OK)
